## Sheet1
Item | Description 1 | Description 2 | Competitor | Competitor P/N
2008010 | PROBE, GEN PURPOSE, 2.87" LG FOR POCKETSURF, 10UM RAD TIP | FOR POCKETSURF, 10UM RAD TIP | Mitutoyo | 178-390
2008011 | PROBE, GEN PURPOSE, 2.87" LG FOR POCKETSURF, 5UM RAD TIP | FOR POCKETSURF, 5UM RAD TIP | Mitutoyo | 178-390
2008012 | TRANSVERSE CHISEL PROBE FOR POCKETSURF | FOR POCKETSURF | Mitutoyo | 178-386
2008014 | PROBE, SMALL BORE, 2.87" LG FOR POCKETSURF, 10UM RAD TIP | FOR POCKETSURF, 10UM RAD TIP | Mitutoyo | 178-392
2008015 | PROBE, SMALL BORE, 2.78" LG FOR POCKETSURF, 5UM RAD TIP | FOR POCKETSURF, 5UM RAD TIP | Mitutoyo | 178-392
2008016 | PROBE, GROOVE BOTTOM FOR POCKETSURF | FOR POCKETSURF | Mitutoyo | 178-394
2008024 | HEIGHT STAND, POCKET SURF |  | - | No competition
2032440 | INDICATOR, 2034107, SP-351 | FLAT BACK, 4360009 POINT | Mitutoyo | 543-590B
2032484 | INDICATOR, UMAXUM2, 2034201 W/ | PROG CODE 1000110, REVS. DIR. | Mitutoyo | 543-592B
2032653 | UMAXUM II,+/-.04"RANGE,.375DIA | X.46 STEM, STANDARD, FLAT BACK | Mitutoyo | 543-592B
2033001 | REMOTE INDICATING UNIT, MAXUM3 | NO DATA OUTPUT | - | No competition
2033011 | REMOTE INDICATING UNIT, MAXUM3 | WITH DATA OUTPUT -6PIN | - | No competition
2033091 | DIGITAL TRANSDUCER ASSEMBLY | 3/8 OD X .67 STEM +-.04 TRAVEL | - | No competition
2033099 | DIGITAL TRANSDUCER, "PENCIL" | 3/8 OD X 4.0" +/-.04" TRAVEL | - | No competition
2033101 | INDICATOR, INTEGRAL, MAXUM3 | NO DATA OUTPUT, 3/8X.67, +-.04 | Mitutoyo | 543-702B
2033111 | INDICATOR, INTEGRAL, MAXUM3 | 6PIN OUTPUT, 3/8X.67, +-.040 | Mitutoyo | 543-592B
2034101 | UMAXUM II,+/-.04"RANGE,.375DIA | X.46 STEM, STANDARD, FLAT BACK | Mitutoyo | 543-592B
2034103 | UMAXUM II,+/-.04"RANGE,.375DIA | X1.5" STEM, STANDARD, FLAT BK | Mitutoyo | 543-592B
2034105 | UMAXUM II,+/-1MM RANGE 8MM DIA | X11.7MM STM, STANDARD, FLAT BK | Starrett | F2720ADM
2034107 | UMAXUM II,+/-1MM RANGE 8MM DIA | X38MM STM, STANDARD, FLAT BK | Starrett | F2720ADM
2034111 | UMAXUM II, STANDARD CONFIGURED | STEM AND RANGE | Starrett | F2720ADM
2034201 | UMAXUM II,+/-.04"RANGE.375"DIA | X.46 STEM, ADVANCED, FLAT BK | Starrett | F2730AD
2034205 | UMAXUM II,+/-1MM RANGE 8MM DIA | ±1 mm stem Ø 8 x 11,7 mm | Starrett | F2720ADM
2103200 | UDIMENSIONAIR II HANDHELD AIR GAGE - LO MAG. | HANDHELD AIR GAGE - LO MAG. | - | No competition
2120422 | HEAD, LEVER TYPE GAGE ASSY W/ | FINE ADJ. MTG BRKT | - | No competition
2191800 | POCKET SURF 4 WITH CERTIFIED | REFERENCE SPECIMEN & EGH-1019 | - | No competition
2191802 | POCKET SURF 4 WITH CERTIFIED | REFERENCE SPECIMEN & EGH-1026 | - | No competition
2216180 | CONTACT, LEVER TYPE HEAD | INVOLUTE TIP, NORMALLY FURNISH | - | No competition
2236687 | HEIGHT STAND, POCKETSURF | WITH SWIVEL | - | No competition
2256077 | 16 EWR DIG CALIPER, 6"/150MM | ALTER FOR LIFENET HEALTH ONLY |  | No competition
4102220 | i-Stick Receiver for Mahr Integrated Wireless | Integrated Wireless | - | No competition
4103010 | 16 ER Dig.Caliper 150 mm/6" | round depth rod | Mitutoyo | 500-184-30
4103011 | 16 ER Dig.Caliper 150 mm/6" | rd.dep.rod th.wheel | - | No competition
4103012 | 16 ER Dig.Caliper 150 mm/6" | rectangular depth rod | Mitutoyo | 500-181-30
4103013 | 16 ER Dig.Caliper 150 mm/6" | rect. dep.rod th.wheel | Mitutoyo | 500-196-30
4103064 | 16 EWR DIGITAL CALIPER,6"/150 | rd. depth rod Data | - | No competition
4103070 | 16 EWR DIGITAL CALIPER,12"/300 | Data | Mitutoyo | 500-718-20
4103206 | 16 ER[M17] D caliper 200mm/8" | rect. DR th.wheel | Mitutoyo | 500-197-30
4103208 | 16 ER[M17] D caliper 300mm/12" | with friction wheel | - | No competition
4103300 | 16 EWR[M13] D caliper 150mm/6" | round depth rod | Mitutoyo | 500-709-20
4103301 | 16 EWR Dig.Caliper 150 mm/6" | rd.dep.rod th.wheel | Mitutoyo | 500-768-20
4103302 | 16 EWR[M13] D caliper 150mm/6" | rectangular depth rod | Mitutoyo | 500-706-20
4103303 | 16 EWR[M13] D caliper 150mm/6" | rect. DR th.wheel | Mitutoyo | 500-702-20
4103304 | 16 EWR[M17] D caliper 200mm/8" | rectangular depth rod | Mitutoyo | 500-707-20
4103307 | 16 EWR[M17] D caliper300mm/12" | with friction wheel | Mitutoyo | 500-704-20
4103400 | 16 EWRi Dig.Caliper 150 mm/6" | rd.dep.rod iwi | - | No competition
4103401 | 16 EWRi Dig.Caliper 150 mm/6" | rd.dep.rod th.wheel iwi | - | No competition
4103403 | 16 EWRi Dig.Caliper 150 mm/6" | rect. DR th.wheel iwi | - | No competition
4103405 | 16 EWRi[12] D caliper 200mm/8" | rect. DR th.wheel iwi | - | No competition
4103407 | 16 EWRi[12] D caliper300mm/12" | with friction wheel iwi | - | No competition
4107005 | 16 U Dial Caliper | 150 mm res. 0,01 mm | - | No competition
4112572 | 18 EWRi Dig.Caliper 500 mm/20" | w. measuring Blades iwi | - | No competition
4112704 | 18 EWR Dig.Caliper 300 mm/12" | w. measuring Blades Data | Mitutoyo | 551-331-20
4112705 | 18 EWR Dig.Caliper 300 mm/12" | Data | Mitutoyo | 550-331-20
4118807 | 16 EWR-V Dig.Caliper 200 mm/8" | incl. Accessories Data | - | No competition
4126513 | 30 EWR-N Depth Cal. 100 mm/4" | incl. Accessories Data | - | No competition
4126532 | 30 EWRi-N Depth Cal. 100mm/4" | incl. Accessories iwi | - | No competition
4126700 | 30 EWR Depth Caliper | 150 mm/6" Data | Mitutoyo | 571-301-20
4126751 | 30 EWRi Depth Caliper 25 mm/1" | light weight constr. iwi | - | No competition
4157010 | 40 ER Digital Micrometer | 0-25mm/0-1" | Mitutoyo | 293-349-30
4157011 | 40 EWR Digital Micrometer | 0-25mm/0-1" | Mitutoyo | 293-240-30
4157100 | 40 EWRi Digital Micrometer | 0-25mm/0-1" iwi | Mitutoyo | 293-335-30
4157101 | 40 EWRi Digital Micrometer | 25-50mm/1-2" iwi | Mitutoyo | 293-331-30
4157102 | 40 EWRi Digital Micrometer | 50-75mm/2-3" iwi | Mitutoyo | 323-352-30
4157103 | 40 EWRi [17] Dig Micrometer 75-100mm/3-4", wireless | 75-100mm/3-4" iwi | - | No competition
4157120 | 40 EWRi-L Digital Micrometer | 0-25mm/0-1" iwi | - | No competition
4157121 | 40 EWRi-L Digital Micrometer | 25-50mm/1-2" iwi | - | No competition
4158000 | 41 H Stand for micrometer |  | - | -
4302950 | 801 V Test indicator | MarTest | Mitutoyo | 513-453-10E
4303950 | 801 H Test indicator | MarTest | Mitutoyo | 513-405-10H
4305200 | 800 S Test indicator | MarTest | Mitutoyo | 513-464-10E
4305950 | 801 S Test indicator | MarTest | Mitutoyo | 513-402-10E
4305960 | 801 S1 Test indicator | MarTest | Mitutoyo | 513-402-10E
4306950 | 801 SL Test indicator | MarTest |  | -
4306960 | 801 SGL Test indicator | MarTest |  | -
4307200 | 800 SG Test indicator | MarTest | Mitutoyo | 513-404-10E
4307950 | 801 SG Test indicator | MarTest |  | -
4307960 | 801 SR, MARTEST, .0005" RES, | MarTest |  | -
4308200 | 800 SGM Test indicator | MarTest | Mitutoyo | 513-405-10E
4308220 | 800 SGE Test indicator | MarTest | Mitutoyo | 513-401-10E
4308250 | 800 SRM Test indicator | MarTest | Mitutoyo | 513-445-10E
4308960 | 801 SM Test indicator | MarTest | Mitutoyo | 513-453-10T
4308970 | 801 SGM Test indicator | MarTest | Mitutoyo | 513-453-10T
4308985 | 801 SGE Test indicator | MarTest | Mitutoyo | 513-453-10T
4309090 | 801 p Stand with bores for | climping shaft-Ø 4 and 8 mm | - | No competition
4311000 | 810 S Dial Indicator | 10 mm / 0,01mm shockproof | Mitutoyo | 2046AB-09
4311050 | 810 A Dial Indicator | 10 mm / 0,01 mm | Mitutoyo | 2046A
4311900 | 810 AZ Dial Indicator | 10 mm / 0,01 mm | - | No competition
4315000 | 810 SW,DIAL INDICATOR,WETPROOF .010 MM GRADS, 10 MM RANGE | 10 mm / 0,01mm shockproof | Mitutoyo | 2046AB-60
4317000 | 810 SB Dial Indicator | 0,8 mm / 0,01mm shockproof |  | No competition
4324000 | 803 S Small dial indicator | 3 mm / 0,01 mm shockproof | Mitutoyo | 1040AB
4324900 | 803 AZ Small dial indicator | 3 mm / 0,01 mm Ø 40 mm | Mitutoyo | 2047A
4332000 | 1010 MILLIMESS, 0.01 MM GRAD | ±0,25mm / 0,01mm | - | No competition
4332900 | 1010 Z MILLIMESS, .0005" GRAD | ±.0100" / .0005" | - | No competition
4333000 | 1004 MILLIMESS, 5 UM GRAD | ±130µm / 5µm | - | No competition
4333900 | 1004 Z Comparator Millimess | ±.0050" / .0001" | - | No competition
4333905 | 1004 ZT MILLIMESS,.0001" GRAD | ±.0050" / .0001" IP54 | - | No competition
4334000 | 1003 Comparator Millimess | ±50µm / 1µm | - | No competition
4334001 | 1003 XL Comparator Millimess | ±130µm / 2µm | - | No competition
4334900 | 1003 Z Comparator Millimess | ±.0020" / .00005" | - | No competition
4335000 | 1002 Comparator Millimess | ±25µm / 0,5µm | - | No competition
4335900 | 1002 Z Comparator Millimess | ±.0010" / .00002" | - | No competition
4336010 | 1075 R Digital Indicator | 12,5mm/.5" res.0,01mm | Mitutoyo | 543-781B
4336020 | 1075 R Digital Indicator | 12,5mm/.5" res.0,005mm | Mitutoyo | 543-793-10
4336030 | 1075 R Digital Indicator | 12,5mm/.5" res.0,001mm | Mitutoyo | 543-794B
4337130 | 1086 R D.Indicator 12,5mm/.5" | 12,5mm/.5" res.0,01mm | Mitutoyo | 543-400B
4337133 | 1086 R, DIGITAL IND, 8MM STEM | 100mm/4" res.0,01mm | - | No competition
4337134 | 1086 RI, DIGITAL IND. 8MM STEM | 12,5mm/.5" res.0,01mm | - | No competition
4337135 | 1086 RI, DIGITAL IND. 8MM STEM | 25mm/1" res.0,01mm | - | No competition
4337620 | 1086 R Digital Indicator | 12,5mm/.5" res.0,0005mm | Mitutoyo | 543-390B
4337621 | 1086 R Digital Indicator | 25mm/1" res.0,0005mm | Mitutoyo | 543-470B
4337622 | 1086 R, DIGITAL IND, 8MM STEM | 50mm/2" res.0,0005mm | Mitutoyo | 543-490B
4337623 | 1086 R Digital Indicator | 100mm/4" res.0,0005mm | - | No competition
4337624 | 1086 Ri Digital Indicator | 12,5mm/.5" res.0,0005mm | - | No competition
4337625 | MarCator 1086Ri Digital | 25mm/1" res.0,0005mm | - | No competition
4337626 | 1086 RI, DIGITAL IND, 8MM STEM | 50mm/2" res.0,0005mm | - | No competition
4337627 | 1086 RI, DIGITAL IND, 8MM STEM | 100mm/4" res.0,0005mm | - | No competition
4337628 | 1086 RI, DIGITAL IND. 8MM STEM | 25mm/.1" res.0,0005mm | - | No competition
4337640 | 1086 WR, DIGITAL IND, 8MM STM | 12,5mm/.5" res.0,0005mm | - | No competition
4337650 | 1086 ZR Digital Indicator | 12,5mm/.5" res.0,0005mm |  | -
4337651 | 1086 ZR Digital Indicator | 25mm/1" res.0,0005mm |  | -
4337660 | 1087 R Digital Indicator | 12,5mm/.5" res.0,0005mm | Mitutoyo | 543-300B
4337661 | 1087 R Digital Indicator | 25mm/1" res.0,0005mm | Mitutoyo | 543-590B
4337662 | 1087 BR Digital Indicator | 12,5mm/.5" res.0,0005mm | Mitutoyo | 543-310B
4337663 | 1087 Ri Digital Indicator | 12,5mm/.5" res.0,0005mm | - | No competition
4337664 | 1087 BRI, DIGITAL IND,8MM STEM | 12,5mm/.5" res.0,0005mm | - | No competition
4337665 | MarCator 1087Ri Digital | 25mm/1" res.0,0005mm | - | No competition
4337695 | 1087 R-HR Digital Indicator | 12,5mm/.5" res.0,1µm | - | No competition
4337697 | 1086 R-HR Digital Indicator | 12,5mm/.5" res.0,1µm | - | No competition
4346700 | 2000 W Digital comparator | Range ± 1mm / Res. 0,1µm | - | No competition
4346701 | 2000 Wi Digital comparator | Range ± 1mm / Res. 0,1µm | - | No competition
4346800 | 2001 W Digital comparator | Range ± 1mm / Res. 0,1µm | - | No competition
4346801 | 2001 Wi Digital comparator | Range ± 1mm / Res. 0,1µm | - | No competition
4426100 | 814 SR Digital Height Gage | 350mm/14" |  | -
4426101 | 814 SR Digital Height Gage | 600mm/24" |  | -
4429600 | 817 CLT-2D Height-Gage | Digimar 0-350 mm |  | -
4429601 | 817 CLT-2D Height-Gage | Digimar 0-600 mm | Mitutoyo | 518-351D-21
4429602 | 817 CLT-2D Height-Gage | Digimar 0-1000 mm |  | -
4429630 | 816 CLT 14" | Digimar 0-350 mm |  | -
4429631 | 816 CLT 24" | Digimar 0-600 mm |  | -
4431100 | 820 FG Comp.Stand 0-130mm w/fa | Gran.plate 160x100mmØ 8H7 | - | No competition
4443100 | 824 FT Prec.Comp.Stand 0-210mm | Ø 8mm w.fine adjust. w/o plate | - | No competition
4450000 | 840 F Indicating snap gage | 0-25 mm/0 - 1" in case | Mitutoyo | 523-141
4450001 | 840 F Indicating snap gage | 25-60 mm/1 - 2.36" in case | Mitutoyo | 523-142
4450002 | 840 F Indicating snap gage | 50-100 mm/2 - 4" in case | Mitutoyo | 523-143
5312012 | C 1200 M Millimar | Compact amplifier | Tesa | 4430014
5312025 | C 1202 Millimar | compact amplifier | Marposs | 830NA00002
5312865 | Millimar Cockpit Software MarWin 13 |  | - | No competition
5313030 | 1303 Inductive probe +/- 1mm | mit radial cable | Tesa | 32.1092
5313049 | 1304 K Inductive probe +/- 1mm | compact type | Marposs | 3PR0221200
5313180 | 1318 Inductive Probe | lever type | Mitutoyo | 519-522
5318455 | 1840 PE FED 2500/5000 COLUMN | LOW MAG - FEDERAL AIR TOOLING | Marposs | 7651002030
5323010 | P2004 M Inductive probe +/-2mm | incl. test report | Tesa | 599-982-10
5323013 | P2004U, MARPOSS TYPE, +/-2MM INDUCTIVE PROBE | incl. test report | Marposs | 3PR05L0000
5323014 | P2004 F Inductive probe +/-2mm | incl. test report | Marposs | 3PR05L0000
5324010 | P2010M, MAHR TYPE, +/-5MM INDUCTIVE PROBE - STANDARD | incl. test report | Marposs | 3PR10L0000
5331120 | Millimar N 1702 M | Module for 2 inductive probes | - | No competition
5331125 | Millimar N 1702 M-HR Module for 2 inductive probes | Module for 2 inductive probes | - | No competition
5331130 | Millimar N 1701 USB | connecting module | - | No competition
5331134 | Millimar N 1704 I/O | In-/Output module | - | No competition
5331152 | Millimar N 1701 PM-10000 | Modul for 1 pneum. gauge head | - | No competition
5331155 | Millimar N 1701 PF-2500/5000 | Module for 1 pneum. gauge head | - | No competition
5331156 | Millimar N 1701 PF-2500/5000-4 | Module for 1 pneum. gauge head | - | No competition
5331157 | Millimar N 1701 PF-10000 Module for 1 pneum. gauge head | Module for 1 pneum. gauge head | - | No competition
5357360 | Precimar SM 60 1 N | 1 N | Trimos | 53-190-012-0
5357380 | PRECIMAR SM 60 V-5N | 5 N | Trimos | 53-190-012-0
6111520 | PHT 6-350 / 2 µm | pick-up | Mitutoyo | 178-296
6111526 | PHT 6-350 / 5 µm | pick-up | Mitutoyo | 178-390
6111527 | PHT 6-350 / 10 µm pick-up | pick-up | Mitutoyo | 178-390
6710803 | ST-D/300 measuring stand with Iron base | with Iron base | Mitutoyo | 178-029
6710806 | ST-F/300 measuring stand without T-slot Granite | without T-slot Granite | Mitutoyo | 178-029
6710807 | ST-G/300 Measuring stand with T-slot Granite | with T-slot Granite | Mitutoyo | 178-029
6910230 | MarSurf PS10 Set | 2 µm | Mitutoyo | 178-560-13D
6910232 | PS 10 MarSurf set | 5 µm |  | -
6910235 | MarSurf PS10 C2 Set | transverse tracing | Mitutoyo | 178-564-11D
6910260 | MarSurf M 310 Set | 2 µm |  | -
6910264 | MarSurf M 310 C2 Set 2 µm | 2 µm | Mitutoyo | 178-574-01D
6910265 | MarSurf M 310 Set | 5 µm |  | -
6910267 | MarSurf M 310 Set incl printer | 2 µm | Mitutoyo | 178-570-11D
6910268 | MarSurf M 310 Set incl printer | 5 µm |  | -